## Sheet1
EventNumber | References | Day | Month | Year | Date | Geographical Location | Country | Industry | Facility | Site | INES | INES (guess) | Region | Description
1 | 186 | 24 | 10 | 2016 | 24-10-16 | Halden, Norway | Norway | Energy | Research | HALDEN | 1 |  | NE | The research reactor suffered a small leakage of radioactive Iodine. No health risk or danger to the environment outside the facility was expected by the NRPA-authority. The reactor was already shut down at the time for routine maintenance.
44 | 534, 898, 899 | 5 | 2 | 2014 | 2014-02-05 | New Mexico, United States | United States | Military | Waste Disposal | WIPP |  | 1 | NA | Fire occurred at salt hauling vehicle and required evacuation of the entire mine and hospitalization of six workers for smoke inhalation and radiation exposure, ineffective maintenance, inadequate fire protection and emergency management program.
55 | 373 | 26 | 9 | 2013 | 26-09-13 | Petten, Netherlands | Netherlands | Energy | Research | PETTEN | 2 |  | WE | Three out of six control rods were found to show deficiencies during outage due to unreliable joining techniques, common cause failures; the plant was taken down and resumed operation on 2/2014 after improvements.
49 | 104 | 20 | 12 | 2013 | 20-12-13 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | Due to unauthorised removal of a resistance thermometer an individual received an extremity radiation dose greater than 10% of the annual dose limit of 500mSv although this is not reportable. However, the level of contamination of both the equipment and the area, when tested, was found to exceed the acceptable levels (three times higher than permitted under the Ionising Radiation Regulation.
52 | 104 | 27 | 11 | 2013 | 27-11-13 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | There was a partial loss of site power on the eastern side of the Sellafield site. Several nuclear facilities lost their electrical power supply and initiated local response actions.
51 | 408 | 2 | 12 | 2013 | 02-12-13 | Puspokszilagy, Hungary | Hungary | Energy | Waste Disposal | PUSPOKSZILAGY |  | 2 | EE | Three workers were exposed to radiation while handling radioactive waste; no release / contamination spread within facility.
77 | 134 | 26 | 9 | 2012 | 26-09-12 | Drome, France | France | Energy | Fuel Fabrication | NA | 2 | 1 | WE | Event related to non-compliance to regulations to prevent criticality risks applicable to labeling, storage and transfer of cylinders containing wet fissile materials.
95 | 92, 703 | 12 | 9 | 2011 | 12-09-11 | Codolet, France | France | Energy | Reprocessing | CENTRACO | 1 | 0 to 1 | WE | One worker died and four were injured, caused by an industrial accident in the melting furnace; no signs of radioactive contamination.
90 | 29 | 22 | 12 | 2011 | 22-12-11 | Bosco Marengo, Italy | Italy | Energy | Reprocessing | NA | 1 | 0 to 1 | WE | Burning of the filtration unit of the decontamination machine to treat solid materials with low contamination; no contamination of controlled or external area.
111 | 103 | 24 | 8 | 2010 | 24-08-10 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 1 | 0 to 1 | WE | One of two gas analysers serving Magnox Swarf Storage Silo Compartment No.7, was found to be disconnected from its sample pipe, and the other analyser was out of service. As a result no analysis of the air space in Compartment No. 7 to detect hydrogen content was carried out for a period of 6 days. There was no release of radioactivity, no personal injury and no requirement for the equipment to have operated.
122 | 247 | 19 | 11 | 2009 | 19-11-09 | La Hague, France | France | Energy | Reprocessing | LA HAGUE | 2 | 0 to 1 | WE | Worker was contaminated, notably by plutonium, during a dust removal operation in a subunit of the intermediate level uranium workshop; working procedures were redefined.
125 | 289, 290 | 6 | 10 | 2009 | 06-10-09 | Cadarache, France | France | Energy | Research | CEA CADARACHE | 2 | 0 to 1 | WE | The Cadarache CEA has informed ASN of the underestimation of plutonium deposits in the facility glove boxes. Estimated at around 8kg during the facility operation, the Plutonium deposits discovered to date are, according to the CEA, of approximately 22kg. The CEA further estimates that the total quantity could rise to as much as 39kg.
130 | 102 | 24 | 7 | 2009 | 24-07-09 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  | 0 to 1 | WE | Leakage of radioactive liquor from one of the uranium hexafluoride cylinders, stored inside a building.
134 | 100 | 1 | 4 | 2009 | 01-04-09 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  | 0 to 1 | WE | Cooling water flow was lost to the Highly Active Liquor Evaporation and Storage (HALES) plant. A quantity of this water was discharged to ground because of a pre-existing rupture to an underground pipeline. No one was injured as a result of the incident and the cooling water was not radioactive.
138 | 101 | 23 | 1 | 2009 | 23-01-09 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 2 |  | WE | Radioactive waste was leaking for 14 months without detection and that two containers of highly radioactive material were lost. The leaking pipe had been left unnoticed 'because managerial controls over the line were insufficient and there was inadequate inspection' according to the conclusions of a board of inquiry.
171 | 214, 744 | 24 | 12 | 2006 | 24-12-06 | Jadugoda, India | India | Energy | Uranium Mine | NA |  | 4 | A | One of the pipes carrying radioactive waste from the uranium mill to the storage dam ruptured and discharged radioactive waste into a nearby rivulet for 9 hours; killing fish and affecting nearby communities; no alarms.
172 | 76, 747 | 6 | 11 | 2006 | 06-11-06 | Cadarache, France | France | Energy | Research | CEA CADARACHE | 2 |  | WE | On 6 November 2006, a batch of scrap was inserted into the grinder which still contained part of the previous batch. The fissile material in the grinder therefore weighed more than the maximum permitted limit for this equipment. It is important to note that the sub-criticality of the grinder would not have been compromised even if it had accidentally contained double of the permitted weight limit of fissile materials.
186 | 98, 99, 755, 756, 757, 758, 759, 760, 761 | 19 | 4 | 2005 | 19-04-05 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 | WE | 83'000 liters of radioactive waste (19 tons of uranium, 16kg of plutonium dissolved in nitric acid) was discovered to have leaked in the reprocessing plant, from cracked pipe, into a huge stainless steel-lined concrete sump chamber, built to contain leaks. A discrepancy between the amount of material entering and exiting the reprocessing system had first been noted in August 2004. Operations staff did not discover the leak until safeguards staff reported the discrepancies. No radiation was released to the environment and no one was injured by the accident. Sellafield Ltd. was fined 500'000 pounds for breaching health and safety law.; in early 2007 Sellafield was given consent to restart
218 | 410, 411 | 23 | 3 | 2004 | 2004-03-23 | Ranger, Australia | Australia | Energy | Uranium Mine | KAKADU |  |  | A | At least 28 workers fall ill after process water pipes were accidentally connected to drinking and shower water at the Ranger Uranium Mine in Kakadu National Park. Workers were exposed to 400 times the 'legal' concentrations of uranium in the water, and suffer headaches, nausea, vomiting and skin irritations. The mine is closed for a number of weeks. The Northern Territory Minister for Mines and Energy refers the process water contamination incident to the Department of Justice for prosecution, and Rio Tinto is later fined $150,000. A report finds that 159 workers were potentially exposed to contaminated water.
240 | 231, 285, 286, 484, 776 | 8 | 4 | 2002 | 08-04-02 | Madras, India | India | Energy | Research | MADRAS |  | 2 | A | 75 kilograms of radioactive sodium at the fast breeder test reactor leaked into a purification cabin and ruined a number of valves and operating systems.
225 | 249 | 5 | 10 | 2002 | 05-10-02 | La Hague, France | France | Energy | Reprocessing | LA HAGUE |  |  | WE | A sub-contractor working at the plant suffered skin contamination while rinsing equipment in the plutonium purification workshop.
259 | 200 | 6 | 3 | 2001 | 06-03-01 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 1 |  | WE | During a routine glove change operation on a glovebox in the plutonium processing section of the B205 Magnox reprocessing plant at Sellafield, plutonium contamination was released into the working area.
250 | 199 | 6 | 7 | 2001 | 06-07-01 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 1 |  | WE | During a rainstorm on 6 July 2001, localised flooding about 10-15 centimetres deep occurred outside a laboratory complex and overflowed an external door threshold into the building. The water entered an old laboratory which is currently being decommissioned. Historic plutonium (Pu) contamination, probably from under a floor lining, was re-suspended by the flooding and spread over part of the laboratory floor. The area has subsequently been cleaned up and decontaminated. There was no release of radioactivity from the building and no radiation dose received by the workforce.
267 | 105 | 9 | 10 | 2000 | 09-10-00 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 1 |  | WE | A loss of electrical supplies to a large portion of the Sellafield site was experienced during Monday 9th October 2000. The failure centred on faults experienced on a new section of 11kV switchgear. Supplies were re-established within 47 minutes of the loss, well within the two hours allowed for in the safety case.
274 | 489, 556, 794, 795 | 30 | 9 | 1999 | 30-09-99 | Ibaraki Prefecture, Japan | Japan | Energy | Fuel Preperation | TOKAIMURA | 4-5 | 5 | A | Workers at the small facility, processing highly enriched uranium, to fuel the JUYO experimental fast reactor, tried to save time by tipping the uranium oxide, dissolved in buckets, directly into the precipitation tank; criticality was reached, intermittently over 20 hours; three workers received high doses, two proved fatal; 161 people were evacuated within 350m radius, basically no offsite release; plant lost.
280 | 218 | 23 | 3 | 1999 | 23-03-99 | Kurlsruhe, Germany | Germany | Energy | Reprocessing | WAK | 1 |  | WE | Release within facility hall led to occupational exposure ranging from 2% to around 20% of the annual intake limit for category A occupationally exposed persons. Indication of deficiencies in the safety culture, as an accumulation of human error by all involved hierarchical organizational levels.
295 | 205, 1088, 1089 | 11 | 3 | 1997 | 11-03-97 | Ibaraki Prefecture, Japan | Japan | Energy | Reprocessing | TOKAIMURA | 3 | 3 | A | At least 37 workers were exposed to low levels of radiation after a small explosion in the plant; smoke escaped to the atmosphere; a week after an abnormal level of cesium was detected 25 miles south-west of the plant.
292 | 328 | 17 | 6 | 1997 | 17-06-97 | Sarov, Russia | Russia | Military | Research Center | VNIIEF |  |  | EE | Experimenter attempted to replicate a successful 1972 experiment involving a sphere of 90% enriched uranium surrounded by a copper reflector; by inappropriate paper work and handling he produced a supercritical assembly, remaining in this state for about 2 hours; he died from high dose 66 hours later.
314 | 496, 497, 498, 559, 811 | 8 | 12 | 1995 | 08-12-95 | Tsuruga, Japan | Japan | Energy | Experimental | MONJU |  | 2 | A | Break of a thermowell, inside a pipe carrying sodium secondary coolant, allowed several hundred kilograms of sodium to leak out and to react with air; warping of steel structures due to intense heat; delayed operational shutdown of the reactor; reactor restarted by May, 2010 for tests, but halted as fuel loading equipment fell into the reactor vessel after scheduled fuel replacement operation; no radioactivity release.
320 | 333 | 7 | 7 | 1994 | 07-07-94 | Lynchburg, United States | United States | Energy | Fuel Fabrication | NA |  |  | NA | Fire broke out in a metallurgical lab where two maintenance workers were repairing a saw. Pyrophoric zirconium chips and enriched uranium caught fire, with radioactive dust falling on six workers. The fire was put out quickly. One of the workers received a first degree burn on his arm; he was treated and went back to work. The workers and the laboratory were decontaminated.
321 | 333 | 29 | 6 | 1994 | 29-06-94 | Lynchburg, United States | United States | Energy | Fuel Fabrication | NA |  |  | NA | Workers in a scrap recovery area dissolved the contents of six bottles holding, they thought, 121 grams of U-235. After processing, they found the system held 649 grams of U-235, far above the 350-gram safety limit set for the unit. The problem arose because the six plastic bottles holding the material were not labeled properly. A "drum counter" used to measure the amount of radioactive material in the bottles recorded an inaccurate measurement.
332 | 491, 564 | 6 | 4 | 1993 | 06-04-93 | Seversk, Russia | Russia | Energy/Military | Reprocessing | TOMSK-7 | 4 | 5 | EE | Workers poured nitric acid into a tank for cleaning, causing the separation of plutonium from spent nuclear fuel; caused mixture of constituents to overheat and explode; massive structural damage and large release of radioactivity; notably 6 GBq of Pu-239; severe contamination of about 1'500 m^2 around the plant, while the radioactive plume covered a total area of 120 km^2, exposing people to doses significantly above background radiation; 160 on-site workers exposed to excessive radiation.
325 | 333 | 27 | 12 | 1993 | 27-12-93 | Tokai, Japan | Japan | Energy | Reprocessing | NA | 2 |  | A | Four workers were exposed internally while they were replacing a filter element of the vacuum filter installed in the sampling system connected to the plutonium receiving vessel of the rework process of the plant. Workers were supposed to seal the vacuum filter in multiple vinyl bags after removal of the filter element. However, a vinyl sheet was used instead, resulting in insufficient containment. The conveying of the insufficiently wrapped filter element with the vinyl sheet from the vacuum distribution room and the second wrapping of the filter element in the airlock area resulted in the spread of plutonium particles from the filter element.
343 | 333 | 17 | 11 | 1992 | 17-11-92 | Gore, United States | United States | Energy | Uranium Processing | NA |  |  | NA | In the facility, digesters are used to dissolve "uranium concentrate" to produce feed materials for the solvent extraction system. About 1,225 kg of nitrogen dioxide gas was released in the digester area of the main process building. The duration of the release was about 20 minutes.
347 | 333 | 8 | 9 | 1992 |  | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 |  | WE | Plutonium nitrate leaked from a corroded pipe to the containment cell and accumulated as a crystalline solid mass. There was no release to the Operations Area nor to the Environment. The spillage was removed, the plant repaired and restarted.
359 | 333 | 18 | 6 | 1991 | 18-06-91 | Hanau, Germany | Germany | Energy | Fuel Fabrication | NA |  |  | WE | Three workers were contaminated by MOX powder.
368 | 219 | 8 | 1 | 1991 | 08-01-91 | Eggenstein, Germany | Germany | Energy | Research | KNK II | 1 |  | WE | Increased moment of force at one (out of five) control and shutdown units of the first shutdown equipment and reactor scram under out-of-balance power conditions.
360 | 333 | 29 | 5 | 1991 | 29-05-91 | Wilmington, United States | United States | Energy | Fuel Fabrication | NA |  |  | NA | Higher than expected amounts of uranium were identified in a process tank of the waste treatment system, posing a potential criticality safety problem. The amount was approximately 2300 parts per million or 150 kg total uranium (about four percent enriched in uranium-235). The administrative criticality safety limit for transferring uranium into the process tank vessel (an unfavorable geometry tank) was 150 parts per million. Sparging (mixing) was initiated in this tank to minimize the criticality potential by preventing an accumulation of material in the bottom of the tank. Later, uranium recovery operation began to remove uranium from this tank via a centrifuge linked to the tank.
879 | 981, 982, 983 | 1 | 7 | 1990 | 01-07-90 | Creys-Malville, France | France | Energy | Demo | SUPER-PHENIX | 2 |  | WE | From 20 June to 3 July, following an inadvertent inflow of air into the primary circuit, the reactor during increase to rated power level operatd with a sodium impurity level exceeding the limit stipulated in the technical specifications, while the filter cartridges which purify the sodium became clogged. This abnormal increase was due to oxidation of the sodium caused by air entering through a faulty compressor. As the analysis of physical and chemical samples to determine the impurity level was difficult, the operator decided to shut down the reactor only on 3 July (an automatic shutdown due to an electrical fault took place shortly before the scheduled shutdown). The temperature of the reactor after the shutdown was maintained at 250 C to ensure that the impurities remained dissolved in the sodium. In July the operator changed the primary sodium purification cartridges and sodium purification began. At the end of August the operator reported on the quantity of impurities in the primary circuit and how long it will take to purify the sodium completely and the reactor can be started up again, although significantly delayed. The physical characteristics of the contaminated sodium changed over several days without the tests made by the operator revealing that air was entering the argon circuit or that the sodium characteristics were deteriorating. Taking into account the, this incident is classified at Level 2 of the severity scale.
369 | 333 | 12 | 12 | 1990 | 12-12-90 | Hanau, Germany | Germany | Energy | Fuel Fabrication | NA |  |  | WE | An explosion occurred in a scrubber at the fuel fabrication plant for uranium fuel elements.
372 | 333 | 22 | 8 | 1990 | 22-08-90 | Gore, United States | United States | Energy | Uranium Processing | NA |  |  | NA | Uranium-contaminated water was discovered seeping into an excavation near the solvent extraction building. The uranium concentration in the seepage ranged up to 8 grams per litre, which as substantially above SFC's environmental action level of 0.000225 grams per litre for uranium in water.
383 | 333 | 11 | 1 | 1989 | 11-01-89 | Vasteras, Sweden | Sweden | Energy | Fuel Fabrication | NA |  |  | NE | The incident started in the reduction furnace, when a valve in the pneumatic filter-cleaning system malfunctioned; the resulting pressure increase opened the relief valve. The relief valve failed to reset properly, while the furnace gas supply did not stop. This resulted, over a one-hour period, in about 200 kg of 3 per cent enriched uranium following the fumes from the furnace to the scrubber system and subsequently to the storage tanks. Triggered by the sludge-level alarm, the storage tank was emptied three times normally withina period of four hours. After the last emptying the alarm signal was not deactivated which led to the solution being flushed onto the floor one hour later.
392 | 285, 286, 484, 831 | 4 | 5 | 1987 | 04-05-87 | Madras, India | India | Energy | Research | MADRAS |  | 1 | A | During an in-pile fuel transfer for performing a low-power physics experiment in May 1987, a major fuel handling incident took place; due to the plug rotation logic during fuel handling; the foot of the subassembly as well as the heads of 28 reflector sub-assemblies on the path of its rotation got bent, one reflector subassembly at the periphery got ejected; reactor operation could be resumed on May 1989.
396 | 189, 190, 833 | 4 | 5 | 1986 | 04-05-86 | Hamm-Uentrop, Germany | Germany | Energy | Prototype | THTR-300 |  | 1 | WE | Operator actions to dislodge a fuel pebble at the fuel feed pipe; some dust released (just a couple of days after Chernobyl); the operator played the incident down; loss of trust and a series of technical problems led to permanent plant shutdown 2.5 years later, mainly due to rising costs.
401 | 333 | 4 | 1 | 1986 | 04-01-86 | Gore, United States | United States | Energy | Uranium Processing | NA |  |  | NA | Sequoyah Fuels Corporation experienced a rupture in an overfilled UF6 cylinder that contained an estimated 29 500 pounds of gaseous UF6. The incident led to the death of a 26-year-old worker and the hospitalization of 37 of the 42 onsite workers. Health care providers examined up to 100 people and 21 were hospitalized for short periods.
399 | 333 | 5 | 2 | 1986 | 05-02-86 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | Plutonium was released in the air and one employee received radiation of about the annual limit.
400 | 333 | 23 | 1 | 1986 | 23-01-86 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | 440kg of uranium were released to the Irish Sea.
411 | 106, 107, 108, 109 | 17 | 7 | 1984 | 17-07-84 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | A solvent fire in B241 effluent treatment plant sludge tank was caused by hot metal from burning operations falling into the tank; minor offsite release of alpha-activity.
420 | 61, 63 | 23 | 9 | 1983 | 23-09-83 | Buenos Aires, Argentina | Argentina | Energy | Experimental | RA-2 | 4 | 4 | SA | Operator error during fuel plate reconfiguration caused criticality accident and power excursion; operator exposed to high gamma and neutron radiation, which killed him two days later; 17 persons outside the reactor room absorbed far lesser doses.
418 | 106, 107, 108, 109, 333, 834, 835 | 10 | 11 | 1983 | ?-11-83 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 4 | WE | Inadvertent transfer of 59 TBq activity with solvent and crud took place from Building B205 to a sea tank at B242; unsuccessful attempts of backpumping; contamination of local beaches.
417 | 333 | 10 | 11 | 1983 | 10-11-83 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | One of the wash tanks contained radioactive aqueous liquor with lighter radioactive solvent floating on top of it and with a layer of highly radioactive interfacial crud at the boundary between the two liquors. Unfortunately, the tank was assumed to contain aqueous liquor only and its transfer to the sea tanks was commenced. Transfer proceeded normally until the gamma radiation monitors on the transfer pipework set off an alarm and the transfer was terminated. It was decided to discharge most of the aqueous liquor in the sea tank to the sea before transferring the much smaller quantity of aqueous liquor, solvent and crud remaining, up an emergency return line to a tank.
438 | 333 | 6 | 1 | 1981 | 06-01-81 | La Hague, France | France | Energy | Reprocessing | LA HAGUE |  |  | WE | Fire in a silo which is used to store radioactive; one worker received small amount of radiation
437 | 333 | 4 | 2 | 1981 | 04-02-81 | Tokai, Japan | Japan | Energy | Reprocessing | NA |  |  | A | A plutonium-containing solution was inadvertently transferred to the acid recovery line. The plutonium-containing solution from the refining line was transferred to the evaporator before the evaporator had been heated to a proper temperature. The liquid was also transferred so rapidly that nitrous acid in the evaporator lost its activity. Because of these two facts, nitrous acid did not react with hydrazine contained in the feed liquid, resulting in an accumulation of hydrazine in the evaporator. The acid concentration in the evaporator gradually increased and a sudden reaction started between nitrous acid and accumulated hydrazine. This reaction caused a rapid rise in the pressure of the evaporator and a part of the solution was transferred to the concentrate receiving tank. As the concentrate receiving tank filled up, the solution was sampled and then, without analysing the data, transferred to the acid recovery line.
433 | 106, 107, 108, 109 |  | 10 | 1981 | ?-10-81 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 | WE | Inadvertent reprocessing of fuel from Oldbury Power Station had only been cooled for 27 days and therefore had a high iodine concentration; 0.3 TBq I-131 discharged to atmosphere.
441 | 333 | 15 | 4 | 1980 | 15-04-80 | La Hague, France | France | Energy | Reprocessing | LA HAGUE |  |  | WE | Fire damaged equipment in the main electricity distribution centre; electrical supplies could not be distributed to the process plants for a period of 15 hours; no release of radioactivity
440 | 106, 107, 108, 109 | 22 | 9 | 1980 | 22-09-80 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 | WE | Enhanced corrosion in B38 magnox storage silo caused plateout inside a ventilation extract duct and discharges to atmosphere of 35‚ì70 GBq 137 Cs
444 | 422, 638 | 25 | 7 | 1979 | 25-07-79 | Saclay, France | France | Energy | Research | BL3 |  |  | WE | Radioactive fluids escaped into drains designed for ordinary wastes, seeping into the local watershed.
448 | 333 | 9 | 2 | 1979 | 1979-02-09 | Tokai, Japan | Japan | Energy | Reprocessing | NA |  |  | A | On February 9, 1979, the water in the underground seepage receiving tank in the waste disposal facility of the reprocessing plant was checked for radioactive material concentrations, detecting a very small amount of radioactivity. The contents of this receiving tank were immediately diverted to a lowlevel waste liquid storage tank.
450 | 333 | 15 | 3 | 1979 | 15-03-79 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | Unexpected radioactive contamination was discovered during a hydrogeological survey. The radioactive liquor then escaped through defects in the metal cladding and finally leaked into the ground at about the foundation level of the building, four meters below the surface. It is estimated that more than 100 000 Ci of radioactivity escaped over a period of some years.
443 | 106, 107, 108, 109 | 11 | 9 | 1979 | 11-09-79 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 4 | 4 | WE | Release of 11GBq Pu plus 2,5 GBq Am-241 during transfer of low radioactive liquid effluent to B242, resulting in tank overflow.
445 | 106, 107, 108, 109 | 16 | 7 | 1979 | 16-07-79 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 4 | WE | A fire of magnox swarf and uranium in a remote decanning cave (B30); release of 92 GBq Cs-137 and other activities during fire-fighting.
452 | 392 |  | 11 | 1978 | 03-11-78 | Pinawa, Canada | Canada | Energy | Research | MANITOBA |  | 2 | NA | The reactor experienced a major loss of coolant accident as one of the pipes leaked 2,739 liters of oil; it took several weeks for workers to find and repair the leak; much of the leaked oil was discharged into the Winnipeg River; no core meltdown but three fuel elements broken with ‚ some fission products released.
453 | 333 | 17 | 10 | 1978 | 17-10-78 | Idaho Falls, United States | United States | Energy | Reprocessing | NA |  |  | NA | A leaking valve in the water line to the aluminum nitrate makeup tank caused the solution to be diluted. This dilution went unnoticed because a low-densitysolution alarm had become inoperable and the latest version of the operating procedure, which called for periodic sampling, was not being used. The very low aluminum nitrate concentration caused the resulting aqueous solution in the scrub tank to act as a stripping agent. Thus, as organic solvent moved through the scrub column, much of its uranium content was left behind in the aluminum-nitrate-poor solution. This concentration resulted in a configuration that was apparently slightly delayed supercritical over an extended time. Eventual operator action in response to the resulting pressure buildup resulted in a radiation spike, which may have signaled a fission pulse.
454 | 333 | 3 | 2 | 1978 | 03-02-78 | La Hague, France | France | Energy | Reprocessing | LA HAGUE |  |  | WE | The incident happened in the area of a sampling circuit associated with a high radioactive process tank. This circuit comprises an air lift system which lifts the solution from the tank to a pot where samples are taken and sent to the laboratory. The lower end of the air lift tube should always be kept immersed in a dead volume of liquid at the bottom of the tank. The air lift system was accidentally left in service; the air flow generated by the air lift system carried radioactive aerosols in the upper circuit through the reflux column and the filter.
459 | 333 | 1 | 7 | 1977 | 01-07-77 | Pierrelatte, France | France | Energy | Reprocessing | NA |  |  | WE | A cylinder containing 8,827 kg of liquid UF6 at around 95 C was resting on a berth, close to the ground next to the sampling building, its valve being at the lowest position. During handling, a mishap occurred and the valve, still connected to the sampling building via a flexible tubing, broke flush with the cylinder wall leaving an opening under one inch diameter. The release of toxic materials took place over almost one hour. Using fire-fighting equipment, water and liquid carbon dioxide were sprinkled. A total of 7,106 kg of UF6 was released to the atmosphere. The amount of uranium detected in the atmosphere was only a small fraction of the UF6 vaporized. Hydrogen fluoride from UF6 hydrolysis could be traced in an area extending 15 km downwind.
457 | 333 | 2 | 9 | 1977 | 02-09-77 | La Hague, France | France | Energy | Reprocessing | LA HAGUE |  |  | WE | The incident happened during a filter declogging operation on a twin filtration circuit in the storage pond water treatment plant. A high level solution from badly closed short circuit tap flowed into the declogging effluent tank. This tank was quickly filled to overflowing before any emergency intervention could be made.
465 | 333 | 10 | 10 | 1976 | 10-10-76 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | At Windscale, excavation work was in progress to install a new silo that would be used to mainly store magnesium alloy declad from spent natural uranium fuel. On October 10 a level of radioactivity, that made it necessary to limit access, was detected at the site. This incident had not been made public till it was reported to the Minister for Energy, leaving the labour union of the Windscale Works and local residents considerably opposed to it.
486 | 106, 107, 108, 109 | 26 | 9 | 1973 | 26-09-73 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 4 |  | WE | Exothermic reaction involving Zr and solvent in a vessel of B204; discharge of up to 0.9TBq beta radioactivity mainly Ru.106; contamination of plant operating area - 35 workers exposed
489 | 370, 1126, 1127 | 21 | 12 | 1972 | 21-12-72 | Pawling, United States | United States | Energy | Research | NA | 4 | 3 or 4 | NA | A chemical explosion in a "glove box" resulted in substantial contamination of several rooms; ceased licensed activities permanently; unknown amount of plutonium powder spewed out.
490 | 106, 107, 108, 109 | 6 | 12 | 1972 | 06-12-72 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 | WE | Inadvertent processing of fuel elements from Chapelcross that had a high iodine content; release of 2.2 Tbq.
498 | 106, 107, 108, 109 | 19 | 3 | 1971 | 19-03-71 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | Sparks from an electric arc ignited radioactive waste in a basement, leading to a 0.48 Gbq release.
495 | 106, 107, 108, 109 | 15 | 12 | 1971 | 15-12-71 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 |  | WE | An abnormal discharge took place from the Building B203 plutonium recovery plant of about 7.4 GBq Pu
506 | 257, 258 | 6 | 8 | 1970 | 06-08-70 | Livermore, United States | United States | Military | Research | LLNL | 4 |  | NA | Release of roughly 300'000 curies of mostly gaseous tritium from a stack in building B331 as a result of human error; elevated levels of tritium found far away; health effects (cancer) estimated.
504 | 106, 107, 108, 109 | 10 | 3 | 1970 | 10-03-70 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | Abnormal discharge of about 1.8 GBq Pu via the B230 stack.
500 | 106, 107, 108, 109 | 29 | 11 | 1970 | 29-11-70 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | An abnormal discharge of about 1.6 GBq Pu took place via the Building B230 stack
505 | 106, 107, 108, 109 | 10 | 2 | 1970 | 10-02-70 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | Abnormal discharge of about 0.5 GBq Pu via the Building B230 stack
501 | 333 | 24 | 8 | 1970 | 24-08-70 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD |  |  | WE | Excursion took place at the head end of a solvent-extraction process employed to recover plutonium. When 40 litres of organic solvent from an unknown source entered the transfer tank, its lower density caused it to float in a layer on top of the aqueous solution. With continuing flow of the aqueous solution, the organic extracted plutonium until the concentration reached 55 g/1 of plutonium. It appears that an aqueous-organic emulsion band between the two phases led to an excursion during the brief period after the flow stopped and before the emulsion constituents separated.
507 | 414, 415 | 11 | 5 | 1969 | 11-05-69 | Rocky Flats, United States | United States | Military | Reprocessing | NA | 4 | 3 or 4 | NA | Smoldering of plutonium in an open can within a glovebox; heat caused plastic storage chest to catch fire that spread quickly, drawn by the glove box line ventilation system; about 1.0 grams (70mCi) of Pu-239, Pu-240 released, through roof vents in B776 and associated filter banks, into the atmosphere; additional particles deposited on the roof and nearby ground and tracked out on the boots of firefighters.
512 | 279, 280, 636 | 21 | 1 | 1969 | 21-01-69 | Lucens, Switzerland | Switzerland | Energy | Experimental | LUCENS | 5 | 5 | WE | Blockage of coolant flow due to accumulated corrosion products during a startup ; partial core meltdown and explosion of a pipe; massive radioactive contamination of sealed rock cavern; plant given up, major cleanup.
511 | 106, 107, 108, 109, 110 | 5 | 3 | 1969 | 05-03-69 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | Spillage of 370MBq in B229 lab led to about 70MBA Pu discharge via B204 stack.
509 | 106, 107, 108, 109 | 12 | 10 | 1969 | 1969-12-10 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 4 | 4 | WE | Enhanced discharge from B204 stack of about 1.8 TBq beta radioactivity including 80GBq Sr-90.
514 | 87 | 5 | 4 | 1968 | 05-04-68 | Chelyabinsk, USSR_Russia | USSR_Russia | Military | Reprocessing | Russian Fed Nuclear Center | 5 | 4 | EE | A criticality accident occurred at an experiment with an assembly comprised of a highly enriched uranium sphere (90% U-235) with a polyethylene-filled cavity in the center, all to be surrounded by a natural uranium reflector; two experimenters caused criticality when lowering the upper half of the reflector onto the core; the emergency instrument system responded by dropping the lower half of the reflector and driving the system deeply subcritical; experimenters killed due to high radiation.
513 | 106, 107, 108, 109, 111 |  | 5 | 1968 | ?-05-68 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 4 | 4 | WE | A month long enhanced discharge from B230 stack as a result of a filter by-pass of B209 Pu-cabinet.
856 | 63 | 7 | 11 | 1967 | '11-07-1967 | Grenoble, France | France | Energy | Research | SILOE |  |  | WE | During overpower testing fuel element ting fuel element partially melted, either due to coolant flow partially melted, either due to coolant flow redistribution or foreign object blocking redistribution or foreign object blocking coolant flow
573 | 639 | 14 | 7 | 1966 | 1966-07-14 | Chusclan, France | France | Military | Experimental | MARCOULE |  | 1 | WE | During a startup in the presence of low gas pressure caused by a faulty sensor. The resulting inadequate cooling caused magnesium-zirconium cladding to begin melting in 11 channels among the core's hottest elements. This accident had no effect on the environment and did not cause a reactor outage.
855 | 766 | 30 | 12 | 1965 | 1965-12-30 | Mol, Belgium | Belgium | Energy | Research | SCK-CEN |  |  | WE | On December 30, 1965 at around 1 p.m., the VENUS reactor operators were working on the construction of a new nuclear fuel configuration. The operations started without making the reactor sufficiently sub-critical. The removal of a control rod before enough nuclear fuel had been taken away was not done according to the safety procedures and the reactor went critical. This led to a sudden increase in power (critical accident). The operator who was at the reactor was briefly exposed to a high dose of neutron and gamma radiation.
519 | 333 | 24 | 7 | 1964 | 24-07-64 | Rhode Island, United States | United States | Military | Reprocessing | WOOD RIVER | 4 | 4 | NA | During reprocessing, for recovery of highly enriched uranium in scrap material, a worker erroneously added a bottle of uranium solution (instead of trichlorroethane to remove organics) to a tank containing uranium in sodium carbonate solution; induced criticality excusion splashing of about 20% of the tank's content (about 10 liters) out of the tank; the worker died, two administrators who returned to the building unknowingly incurred high doses.
576 | 643 |  |  | 1963 | 63 | Karlstein am Main, Germany | Germany | Energy | Experimental | KAHL |  | 1 | WE | Common cause failure of the trip relays due to a change in the manufacturing process; the protective coating on the relays became sticky during operation and caused the relays to stay closed when they were required to open. Discovered during testing.
520 | 192 | 7 | 4 | 1962 | 07-04-62 | Hanford, United States | United States | Military | Reprocessing | NA |  | 3 | NA | An accident at a plutonium processing plant resulted in a criticality accident when plutonium solution was spilled onto the floor of a solvent extraction hood; improper operation of valves allowed a mixture of plutonium solutions in a tank that became supercritical excusions at low power level continued for almost one and a half days, finally terminated by precipitation of plutonium in the tank; evacuation of the building, three people had significant radiation exposures.
523 | 211, 212 | 3 | 1 | 1961 | 03-01-61 | Idaho Falls, United States | United States | Military | Experimental | NRTS | 4 | 4 | NA | During re-assembling of the reactor (a prototype to supply remote radar installation with heat and power), and in the process of working on control rod mechanisms, in particular, the center control rod was lifted manually resulting in a violent power excusion, and general diarrangement of the core; three persons present were killed; no environmental exposure; test reactor permanently shut down.
522 | 106, 107, 108, 109 | 19 | 6 | 1961 | 19-06-61 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | Release of Pu-bearing liquid into process cooling water from a leak in an evaporator; 14 GBq Pu transferred to Calder Hall cooling tower and released to atmosphere, 40GBg Pu released to sea.
524 | 333 | 25 | 1 | 1961 | 25-01-61 | Idaho Falls, United States | United States | Energy | Reprocessing | NA |  |  | NA | Excursion occurred when a large air bubble forced enriched uranium solution out from the top of a 12.7 cm diameter section of an evaporator into a 61 cm diameter vapor-disengagement cylinder above the normal solution level.
521 | 541 | 14 | 7 | 1961 | 14-07-61 | Siberian Chemical Combine, USSR_Russia | USSR_Russia | Military | Uranium Enrichment | NA |  | 3 | EE | Accident occurred in a gasous diffusion facility when the content of UF6-excess holding vessels was transferred to the gas purification system by a vacuum pump; accumulation of 22.6 g enriched uranium in the oil reservoir in a vacuum pump resuluted in a first small power excursion after the pump was turned on, followed by a second excursion when the pump was turned off; operator experienced significant exposure.
525 | 510, 634, 635 | 4 | 3 | 1960 | 04-03-60 | Waltz Mill, United States | United States | Energy | Experimental | NA | 4 | 4 | NA | During an experiment with newly installed equipment and fuel a core disruptive partial melt down accident ocurred, and radioactive gases escaped (800 Ci of primarily Xenon and Krypton); the accident was triggered by a defective fuel element that melted and blocked coolant water channels; control rods withdrawn to override an unexplained sudden power decrease; extremely high radiation level at locations near to the reactor, no injuries or adverse health effects; extensive cleanup and management of contaminated water.
528 | 543, 544, 545, 546, 1189, 1190 | 26 | 7 | 1959 | 26-07-59 | Simi Valley, United States | United States | Energy | Experimental | NA | 4 | 4 | NA | Blockage of sodium coolant channel, as a result of a degraded liquid that had entered the core, and overheating of 13 fuel elements; sodium boiling and meltdown of metallic uranium fuel cladding; potentially large release of radioactive gases and iodine, while aerosols were retained by filters; restart Sept '60 after repairs.
526 | 333 | 20 | 11 | 1959 | 20-11-59 | Oak Ridge, United States | United States | Energy | Fuel Recovery | THOREX |  |  | NA | A chemical explosion occurred in an evaporator containing plutonium within a shielded cell of Oak Ridge National Laboratory Thorex Pilot Plant. A small residue of plutonium was released throughout the Pilot Plant, and nearby streets and exterior building walls were contaminated
527 | 207 | 16 | 10 | 1959 | 16-10-59 | Idaho Falls, United States | United States | Energy | Reprocessing | NA |  |  | NA | Criticality process accident, Uranyl nitrate solution, 91% enriched uranium, in a waste receiving tank; multiple excursions; two significant exposures.
533 | 85 | 24 | 5 | 1958 | 24-05-58 | Chalk River, Canada | Canada | Energy | Research | NRU | 5 | 4 | NA | A damaged fuel rod of the NRU (enhanced NRX with natural uranium) caught fire and was torn in two as it was being removed from the core; a sizable quantity of radioactive combustion products contaminated the reactor building and, to a lesser degree, an area of the lab site; clean-up at high radiation level and repair took 3 months.
532 | 329, 844, 845 | 16 | 6 | 1958 | 16-06-58 | Oak Ridge, United States | United States | Energy | Fuel Recovery | ORLN |  | 3 or 4 | NA | A solution of enriched uranium, recovered from various solid wastes, unexpectedly became critical as it was transferred from storage vessels to a water collection drum, having uranyl-nitrate preceding the water; there were several fission spikes; further flow of water increased reactivity and then decreased to subcriticality after about 20 min; seven significant exposures.
529 | 311, 507 | 15 | 10 | 1958 | 15-10-58 | Vinca, Serbia | Serbia | Energy | Research | Boris Kidrich Institute |  |  | EE | At the Vinca critical facility in Yugoslavia, neutron multiplication was being increased by raising the heavywater level. One of the three nuclear instruments behaved erratically and was disconnected. The other two instruments also were not responding properly to the increasing power. Smelling ozone, people recognized that the assembly was supercritical. The reaction was stopped. All six people present received radiation exposures in the hundreds of rem; one died.
534 | 86 |  | 1 | 1958 | 10-02-58 | Chelyabinsk, USSR_Russia | USSR_Russia | Military | Reprocessing | MAYAK |  | 4 | EE | Plant workers were asked to fill uranium solution into a geometrically safe tank after a criticality experiment but did not follow standard procedures; while decanting neutrons were reflected the solution became prompt critical and exploded; three workers died after a few days, another suffered from high radiation.
530 | 278 | 30 | 12 | 1958 | 30-12-58 | Los Alamos, United States | United States | Military | Research | LASL | 4 | 4 | NA | Unexpected plutonium rich solids, to be handled separately, were washed manually into a single large vessel, containing aqueous solutions, and finally transferred to a tank, in which the system became critical after the stirrer was started and thickened the central region with high Pu-content; the operator died 36 hours later, two other persons were exposed to elevated doses; no environmental impact.
536 | 243, 246, 846 | 29 | 9 | 1957 | 29-09-57 | Chelyabinsk, USSR_Russia | USSR_Russia | Military | Reprocessing | MAYAK | 6 |  | EE | Drying out of 250 m^3 tank, that contained large amounts of radionuclides due to shutdown of cooling system after a pip leak; efflorescence of nitrate salt and chemical explosion triggered by a spark from a control device; about 70-80 tons of radionuclides (incl. Sr-90, Cs-137, Pu-239) released; impact on sparsely populated environment not fully known, at least 22 villages affected with deadly doses.
537 | 416, 417, 1137 | 11 | 9 | 1957 | 11-09-57 | Rocky Flats, United States | United States | Military | Fuel Handling | NA | 5 | 4 | NA | A plutonium fire occurred in one of the gloveboxes used to handle radioactive materials; notably metallic plutonium (that may ignite at room temperature); contamination of the building and atmospheric release of plutonium.
535 | 106, 107, 108, 109 | 10 | 10 | 1957 | 10-10-57 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 5 | 6 | WE | Trial to release built up energy in graphite by annealing; unexpected temperature rise in one channel due to fire; finally whole reactor on fire for more than one day; reactor tank remained sealed but large release of iodine and cesium spreading over Western Europe, about 240 potentially killed by lung cancer.
539 | 210, 1172, 1173 | 29 | 11 | 1955 | 29-11-55 | Idaho Falls, United States | United States | Energy | Experimental | NA | 4 | 4 | NA | Partial meltdown during a coolant flow test to determine the cause of unexpected reactor responses to changes in the coolant flow; no impact on persons and the environment; reactor subsequently repaired and replaced in 1964.
538 | 106, 107, 108, 109 | 8 | 12 | 1955 | 08-12-55 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | A fire occurred in radioactive waste silo in B247, with a miscellaneous assortment of wastes; considerable atmospheric release of fission products / alpha radioactivity with potential offsite-impact.
540 | 106, 107, 108, 109 | 14 | 7 | 1955 | 14-07-55 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 3 | 3 or 4 | WE | A fire lasting 24 hours, in a radioactive waste silo in B247, with a miscellaneous assortment of wastes; considerable atmospheric release of fission products/ alpha radioactivity with potential offsite-impact.
541 | 106, 107, 108, 109 | 25 | 3 | 1955 | 25-03-55 | Cumbria, United Kingdom | United Kingdom | Energy | Reprocessing | SELLAFIELD | 4 | 4 | WE | Spillage at B701 during transport of highly active liquor from B212; 770-1150TBq spilt-some hosed into the drain, most retained in the ground; several workers contaminated.
542 | 208 | 22 | 7 | 1954 | 1954-07-22 | Idaho Falls, United States | United States | Energy | Research | NA |  |  | NA | Criticality accident (moderated metal or oxide systems)‚ BORAX reactor, aluminium uranium alloy, water moderated; single excursion; insignificant exposures; reactor destroyed
543 | 83 | 12 | 12 | 1952 | 12-12-52 | Chalk River, Canada | Canada | Energy | Research | NRU |  | 5 | NA | During tests on low power the reactor suffered a power excursion (peaked at 80MWt) and partial meltdown due to faulty operation, miscommunication, problems in the shutoff systems, wrong status lights and operator errors; hydrogen and other gases evolved and exploded in the calandria causing severe structural damage; some 370 TBq was released to atmosphere; about 4'000 m^3 of contaminated water found in the basement of the reactor building and dumped in ditches; clean-up and restart of upgraded/-rated reactor within two years.
544 | 84 | 13 | 12 | 1950 | 13-12-50 | Chalk River, Canada | Canada | Energy | Research | NRU |  |  | NA | A process operator at Chalk River Nuclear Laboratories died in a chemical explosion.
545 | 191, 1156 | 2 | 12 | 1949 | 02-12-49 | Hanford, United States | United States | Military | Research | NA | 4 | 4 | NA | Intentional unfiltered release of 5'500-12'000 curies of iodine-131 over two days, known as the Green Run Test after accelerated batch processing and reduced cooling peroiods, respectively; radiation distributed over populated areas.
546 | 277 | 21 | 5 | 1946 | 21-05-46 | Los Alamos, United States | United States | Military | Research | LASL |  | 4 | NA | Death due to a criticality accident after full enclosure of plutonium core by beryllium reactor hemispheres following risky handling procedure; one experimenter died, at least one other was injured due to radiation exposure.